## Slide 1
At temperature
Plasma start
Heating start
Pyrometer spot
60 V sample bias
≈24 mTorr He flow
1000 W RF antenna setpoint
972 W load power
28 W reflected power
1100 ˚C maintainable on in-heater thermocouple
Variable on-surface temperature 650 – 750 ˚C

## Slide 2
TGS spot around here

## Slide 3
Run start
Run end